Monte Carlo simulation of secondary neutron dose in major organs in RPI-Adult male phantom during carbon ion radiotherapy

DOI：10.12072/ncdc.imp.db4142.2023

CSTR：11738.11.NCDC.IMP.DB4142.2023

Share type:Apply to Access

Category:Others

Datasets description

In this paper, Monte Carlo method is used to simulate the absorbed dose and equivalent dose of secondary neutrons generated in the process of carbon ion radiotherapy to the main organs of human body. The primary collimator, ridge filter, range shifter and multileaf collimator of the heavy ion beam delivery system of the Institute of Modern Physics (IMP) of the Chinese Academy of sciences are modeled by MCNPX. The simulation results show that the 400 MeV / u carbon ion uniform irradiation field passes through the imp passive beam delivery system and is incident on the RPI adult male phantom, The secondary neutron energy spectrum, absorbed dose and equivalent dose in the main organs of the whole body were calculated. The results show that when the pituitary tumor is treated and given a prescribed dose of 50 Gy, the neutron energy spectrum in different organs shows that the range of secondary neutron energy is relatively large, and the maximum energy is as high as several hundred MeV; The equivalent doses of brain, skull and lens were 53.18, 32.43 and 33.20 mSv; The dose of organs far away from the brain, such as chest, lung and prostate, was very low, less than 0.4 mSv. Conclusion: Monte Carlo method and computer simulation human body model are used to simulate the process of carbon ion radiotherapy, and the secondary neutron energy spectrum and dose in most organs of the whole body are counted. The results and conclusions of this study, combined with relevant data, can provide reference for clinical study of long-term effects of carbon ion radiotherapy.

Data source description

In this paper, Monte Carlo method is used to simulate the absorbed dose and equivalent dose of secondary neutrons generated in the process of carbon ion radiotherapy to the main organs of human body

Data processing method

Processing of human body model by computer

Data quality description

good

Base information

collect time:2017/01/01-2019/12/31

collect place:Lanzhou, Gansu

data size:7.8 MiB

data format:

Coordinate system: 无

Keywords

Theme:Monte Carlo method, voxel model, carbon ion, equivalent dose
	Subject:
	Time:2017
	Place:Gansu,  Gansu Province

Space scope

|  | north： |  |
| --- | --- | --- |
| west： |  | east： |
|  | south： |  |

Service information

contacts:Min Yufang

phone:0931-4967596

mailbox:ncdc@lzb.ac.cn

Contact information

contributors:XIAO Guoqing

author:XIAO Guoqing

manager:XIAO Guoqing

Project information

number:2017YFC0107500，
      name:Research and implementation of a new conformal intensity modulation technique for multi-particle biology guided by multi-modes

Citations and annotations

In order to protect the rights and interests of the platform's scientific and technological resources, expand the services of the platform center, and enhance the application potential of scientific and technological resources,resource users are requested to mark and quote the research results (including published papers, treatises, data products, unpublished research reports, data products, etc.) generated by the use of resources in the following manner.

For the achievements published in English, please refer to the following specifications：

The dataset is provided by National Cryosphere Desert Data Center(https://www.ncdc.ac.cn).

Data reference:

XIAO Guoqing. Monte Carlo simulation of secondary neutron dose in major organs in RPI-Adult male phantom during carbon ion radiotherapy. National Cryosphere Desert Data Center(http://www.ncdc.ac.cn), 2023. https://cstr.cn/CSTR:11738.11.NCDC.IMP.DB4142.2023.