Dataset on Dynamic Control of Water Levels During the Flood Season at the Three Gorges Reservoir for the Coupled Utilization of Multi-Scale Forecast Information (1954, 2020)

Share type:Login to Access

Category:Hydrology

Datasets description

Data source description

(1) Typical flood inflow process: The Three Gorges inflow flow sequence (6 h scale) including the typical major flood process in 1954 (100a scenario) and the measured flood process in 2020 during the flood season.   (2) Prediction uncertainty information: The forecast error level is characterized by the "pass rate", assuming that the forecast error follows a normal distribution, and discretization according to the error multiple ratio x (-1.0 to 1.0, step size 0.1) to obtain the scenario probability.   (3) Dispatch constraints and plans: Based on the Three Gorges Reservoir's flood season operation and flood control dispatch constraints, dynamic control plans for flood limit water levels under different forecast information organization methods (single forecast/multi-scale forecast coupling) are constructed, and regular dispatch/single reservoir dispatch are set up. Control plans such as scheduling.

Data processing method

1) According to the given pass rate α and the allowable error of 0.2, the standard deviation of the error σ is back-calculated using the normal distribution quantiles, and the error multiple ratio x is discretized into scenarios of-1.0 to 1.0 (step size 0.1); the probability of each scenario is calculated and summarized in Sheet2.   2) Under typical flood inflow boundary conditions, a 6-hour time step was used to simulate the Three Gorges Reservoir dispatch, and the outflow flow and reservoir water level processes of different schemes (dynamic control, multi-scale coupling, rule/single reservoir comparison, etc.) were output.   3) Count indicators such as the highest water level, average water level and maximum discharge flow from the time series results to form a statistical table of "×× Uncertainty Change".

Data quality description

Data is generated and summarized in batches by a unified calculation process, and has been checked for completeness and consistency, including: time step consistency (6 hours), key field unit and dimension verification, missing value inspection, and water balance consistency spot check for changes in indoor-out-reservoir water level. For the millisecond-level error caused by Excel time accuracy in 1954 series data (such as 5.995 h/6h), it will not affect process statistics and applications; in 2020, the Time of some Sheets is listed as duplicate dates, corresponding to 4 6-hour periods within the same day, which can be restored to 00/06/12/18 in the recording order.

Base information

collect time:1954/06/03-2020/12/31

collect place:Yichang City, Hubei Province, China (the dam site and reservoir area of the Three Gorges Reservoir on the main stream of the Yangtze River), and involves its upstream water control basin.

altitude:145.0m- 175.0m

data size:1.5 MiB

data format:*.xlsx

Coordinate system: 无

Keywords

Theme:three Gorges reservoir, Operating water level in flood season, dynamic control, multi-scale prediction, forecast uncertainty, joint scheduling
	Subject:hydrology 
	Time:1954 2020
	Place:Upper Yangtze River,  Three Gorges Reservoir Area,  Yichang

Space scope

|  | north： 31.18 |  |
| --- | --- | --- |
| west：106.50 |  | east：111.05 |
|  | south： 29.18 |  |

Service information

contacts:None

phone:

mailbox:

Contact information

contributors:Wang Qianning

author:Wang Qianning

manager:Wang Qianning

Project information

number:2022YFC3202800，
      name:

Citations and annotations

In order to protect the rights and interests of the platform's scientific and technological resources, expand the services of the platform center, and enhance the application potential of scientific and technological resources,resource users are requested to mark and quote the research results (including published papers, treatises, data products, unpublished research reports, data products, etc.) generated by the use of resources in the following manner.

For the achievements published in English, please refer to the following specifications：

The dataset is provided by National Cryosphere Desert Data Center(https://www.ncdc.ac.cn).

Data reference:

Wang Qianning. Dataset on Dynamic Control of Water Levels During the Flood Season at the Three Gorges Reservoir for the Coupled Utilization of Multi-Scale Forecast Information (1954, 2020). National Cryosphere Desert Data Center(http://www.ncdc.ac.cn), 2026.