Volume pressure plate instrument test data set of saturated loess in Gansu Province, Qinghai Province and some areas of Ningxia Hui Autonomous Region (2019)

DOI：10.12072/ncdc.LANDSLIDE.db2034.2022

CSTR：11738.11.ncdc.LANDSLIDE.db2034.2022

Share type:Apply to Access

Category:Hydrology

Datasets description

The water holding capacity curve tests of loess in different strata in typical areas of the Loess Plateau are carried out by using the pressure plate instrument. The experimental tests of the effects of sodium chloride salt concentration, different cation types, fine particle content, coarse particle content, undisturbed and remolded disturbance effect on the water holding capacity curve of loess are tested and analyzed.

Data source description

Manually collect soil samples at different levels.

Data processing method

Place the prepared saturated loess ring knife sample on the high permeability ceramic disc in the closed air pressure chamber of the instrument, and make the sample fully contact with the disc. Then install and fix the top cover of the instrument to ensure that there is no air leakage in the pressure chamber. During the test, the matrix suction is controlled by increasing the air pressure. With the increase of matrix suction, the pore water is discharged until there is no water at the bottom of the ceramic disc. Generally, the time for each level of matrix suction to reach the equilibrium state generally ranges from three days to one week, which depends on the permeability of the sample. After the suction of each stage reaches the equilibrium state, the ring knife sample is weighed and the corresponding volume water content is calculated.

Data quality description

The operation specification complies with the standard process and the data is good.

Base information

collect time:2019/01/01-2019/12/31

collect place:Lanzhou City, Tianshui City, Longnan City, Xining City, Guyuan City, Xiji County

data size:60.8 KiB

data format:

Coordinate system: 无

Keywords

Theme:Soil water holding curve, loess, hydrochemistry
	Subject:physical geography 
	Time:2019
	Place:Lanzhou City,  Tianshui City,  Longnan City,  Xining City,  Guyuan City

Space scope

|  | north： 36.28 |  |
| --- | --- | --- |
| west：101.04 |  | east：105.92 |
|  | south： 33.92 |  |

Service information

contacts:Min Yufang

phone:0931-4967596

mailbox:ncdc@lzb.ac.cn

Contact information

contributors:

author:ZHANG Fanyu

manager:

Project information

number:2018YFC1504702，
      name:

Citations and annotations

In order to protect the rights and interests of the platform's scientific and technological resources, expand the services of the platform center, and enhance the application potential of scientific and technological resources,resource users are requested to mark and quote the research results (including published papers, treatises, data products, unpublished research reports, data products, etc.) generated by the use of resources in the following manner.

For the achievements published in English, please refer to the following specifications：

The dataset is provided by National Cryosphere Desert Data Center(https://www.ncdc.ac.cn).

Data reference:

. Volume pressure plate instrument test data set of saturated loess in Gansu Province, Qinghai Province and some areas of Ningxia Hui Autonomous Region (2019). National Cryosphere Desert Data Center(http://www.ncdc.ac.cn), 2022. https://cstr.cn/CSTR:11738.11.ncdc.LANDSLIDE.db2034.2022.